## BoQ to print
[6 empty] | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31 |  | 32
|  | Use Separate Bill of Quantities for each Site |  | Unit cost (USD) |  | SITE #1 |  | SITE #2 |  | SITE #3 |  | SITE #4 |  | SITE #5 |  | SITE #6 |  | SITE #7 |  | SITE #8 |  | SITE #9 |  | SITE #10 |  | SITE #11 |  | SITE #12 |  | SITE #13 |  | SITE #14 |  | SITE #15 |  | SITE #16 |  | SITE #17 |  | SITE #18 |  | SITE #19 |  | SITE #20 |  | SITE #21 |  | SITE #22 |  | SITE #23 |  | SITE #24 |  | SITE #25 |  | SITE #26 |  | SITE #27 |  | SITE #28 |  | SITE #29 |  | SITE #30 |  | SITE #31 |  | SITE #32
[6 empty] | Sal-Rei Health Center |  | Mosteiros Health Center |  | São Filipe Health Delegacy |  | Porto Inglês Health Delegacy |  | Espargos Health Delegacy |  | Santa Maria Health Center |  | Calheta de S Miguel Health Center |  | Achada Santo António Health Center |  | Achada Grande Trás Health Center |  | Fazenda Health Center |  | Ponta d'Água Health Center |  | Tira Chapéu Health Center |  | National Medicine Warehouse |  | Santa Catarina Health Delegacy |  | Santa Cruz Health Center |  | São Domingos Health Center |  | Orgãos Health Center |  | Picos Health Center |  | Tarrafal Health Center |  | Paúl Health Center |  | Porto Novo Health Center |  | Ribeira Grande Health Delegacy |  | Ribeira Brava Health Delegacy |  | Tarrafal Health Center |  | Chã de Alecrim Health Center |  | Fonte Inês Health Center |  | Ribeira de Craquinha Health Center |  | Mindelo Health Delegacy |  | Ribeirinha Health Center |  | Regional Medicine Warehouse |  | Ribeira de Vinha Therapy Center |  | Bela Vista Health Center
|  | LOT number: __________ |  |  |  | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD | Qty | USD
|  | Item | Description |  | Units
FORM 4.1 Solar PV System BoQ | Array | PV modules | Total kWp |  | kWp | 45 |  | 18 |  | 15 |  | 35 |  | 12 |  | 35 |  | 20 |  | 25 |  | 25 |  | 40 |  | 20 |  | 20 |  | 20 |  | 40 |  | 20 |  | 15 |  | 15 |  | 6 |  | 20 |  | 10 |  | 20 |  | 5 |  | 15 |  | 10 |  | 5 |  | 5 |  | 5 |  | 30 |  | 5 |  | 10 |  | 40 |  | 10
|  |  | xx Wp module (V) (bidder to enter Wp & qty) |  | Ea
|  | PV array mounting super-structure | Roof mount structure per 1kWp (complete over slab) |  | Ea | 45 |  | 18 |  | 15 |  | 35 |  | 12 |  | 35 |  | 20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 40 |  | 20 |  | 15 |  | 15 |  | 0 |  | 20 |  | 10 |  | 0 |  | 5 |  | 15 |  | 10 |  | 0 |  | 5 |  | 5 |  | 30 |  | 5 |  | 10 |  | 0 |  | 10
|  |  | Roof mount structure per 1kWp (complete over tilted tiles) |  | Ea | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 25 |  | 25 |  | 40 |  | 20 |  | 20 |  | 20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 6 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 40 |  | 0
|  |  | Module mounting security frames |  | Ea | 45 |  | 18 |  | 15 |  | 35 |  | 12 |  | 35 |  | 20 |  | 25 |  | 25 |  | 40 |  | 20 |  | 20 |  | 20 |  | 40 |  | 20 |  | 15 |  | 15 |  | 6 |  | 20 |  | 10 |  | 20 |  | 5 |  | 15 |  | 10 |  | 5 |  | 5 |  | 5 |  | 30 |  | 5 |  | 10 |  | 40 |  | 10
|  | Module earthing clamps | per 1 kWp |  | Set | 45 |  | 18 |  | 15 |  | 35 |  | 12 |  | 35 |  | 20 |  | 25 |  | 25 |  | 40 |  | 20 |  | 20 |  | 20 |  | 40 |  | 20 |  | 15 |  | 15 |  | 6 |  | 20 |  | 10 |  | 20 |  | 5 |  | 15 |  | 10 |  | 5 |  | 5 |  | 5 |  | 30 |  | 5 |  | 10 |  | 40 |  | 10
|  | DC cabling and accessories | Array DC Quick connectors |  | Ea
|  |  | PV1 Cable Red |  | m | 90 |  | 50 |  | 40 |  | 50 |  | 40 |  | 80 |  | 60 |  | 60 |  | 60 |  | 110 |  | 60 |  | 60 |  | 60 |  | 80 |  | 60 |  | 60 |  | 60 |  | 20 |  | 60 |  | 20 |  | 60 |  | 15 |  | 60 |  | 20 |  | 20 |  | 20 |  | 20 |  | 80 |  | 20 |  | 50 |  | 90 |  | 30
|  |  | PV1 cable Black |  | m | 90 |  | 50 |  | 40 |  | 50 |  | 40 |  | 80 |  | 60 |  | 60 |  | 60 |  | 110 |  | 60 |  | 60 |  | 60 |  | 80 |  | 60 |  | 60 |  | 60 |  | 20 |  | 60 |  | 20 |  | 60 |  | 15 |  | 60 |  | 20 |  | 20 |  | 20 |  | 20 |  | 80 |  | 20 |  | 50 |  | 90 |  | 30
|  |  | Ground wire |  | m | 150 |  | 120 |  | 90 |  | 120 |  | 110 |  | 130 |  | 50 |  | 130 |  | 130 |  | 250 |  | 130 |  | 130 |  | 120 |  | 120 |  | 130 |  | 130 |  | 130 |  | 60 |  | 130 |  | 110 |  | 130 |  | 50 |  | 130 |  | 110 |  | 50 |  | 50 |  | 50 |  | 120 |  | 50 |  | 50 |  | 150 |  | 50
|  |  | Ground wire connector |  | Ea | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
|  |  | Corrugated tube cable duct |  | m | 40 |  | 30 |  | 25 |  | 30 |  | 25 |  | 25 |  | 25 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 15 |  | 35 |  | 35 |  | 35 |  | 15 |  | 35 |  | 35 |  | 15 |  | 15 |  | 15 |  | 35 |  | 15 |  | 25 |  | 40 |  | 15
|  |  | Metallic cable tray and mounting accessories |  | m | 25 |  | 15 |  | 15 |  | 15 |  | 15 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 25 |  | 10 |  | 25 |  | 15 |  | 25 |  | 10 |  | 25 |  | 15 |  | 10 |  | 10 |  | 10 |  | 15 |  | 10 |  | 25 |  | 20 |  | 10
| Inverter | PV inverter | Total 3 phase kW |  | kW | 45 |  | 18 |  | 12 |  | 35 |  | 12 |  | 35 |  | 20 |  | 22 |  | 22 |  | 35 |  | 18 |  | 18 |  | 18 |  | 40 |  | 20 |  | 15 |  | 15 |  | 6 |  | 20 |  | 10 |  | 18 |  | 5 |  | 15 |  | 10 |  | 0 |  | 5 |  | 5 |  | 30 |  | 5 |  | 10 |  | 35 |  | 10
|  |  | Size 1: only (bidder to enter kW of each and qty) |  | Ea
|  |  | Size 2: only (bidder to enter kW of each and qty) |  | Ea
|  |  | Size 3: only (bidder to enter kW of each and qty) |  | Ea
|  |  | Total 1 phase kW: (bidder to enter kW of each and qty) |  | kW | [48 empty] | 5
| AC cabling and accessories | AC cabling | from inverter to AC Partial Solar Board (PSB-AC) if existing |  | m | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 10 |  | 30 |  | 10 |  | 30 |  | 10 |  | 30 |  | 10 |  | 10 |  | 10 |  | 10 |  | 30 |  | 10 |  | 50 |  | 30 |  | 10
|  |  | from AC Partial Solar Board (PSB-AC) or Inverter to AC General Solar Board (GSB-AC) |  | m | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 10 |  | 30 |  | 10 |  | 30 |  | 10 |  | 30 |  | 10 |  | 10 |  | 10 |  | 10 |  | 30 |  | 10 |  | 50 |  | 30 |  | 10
|  |  | from AC General Solar Board (GSB-AC) to GLVB |  | m | 80 |  | 80 |  | 80 |  | 80 |  | 80 |  | 130 |  | 110 |  | 110 |  | 110 |  | 120 |  | 110 |  | 110 |  | 110 |  | 120 |  | 110 |  | 110 |  | 110 |  | 30 |  | 110 |  | 50 |  | 110 |  | 50 |  | 110 |  | 50 |  | 30 |  | 30 |  | 30 |  | 120 |  | 30 |  | 50 |  | 120 |  | 30
|  | Accessories | Corrugated tube cable duct |  | m | 40 |  | 30 |  | 50 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 40 |  | 30 |  | 30 |  | 30 |  | 40 |  | 30 |  | 30 |  | 30 |  | 15 |  | 30 |  | 20 |  | 30 |  | 15 |  | 30 |  | 20 |  | 15 |  | 15 |  | 15 |  | 35 |  | 15 |  | 50 |  | 20 |  | 15
|  |  | Metallic cable tray and mounting accessories |  | m | 20 |  | 15 |  | 50 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 25 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 10 |  | 15 |  | 10 |  | 15 |  | 10 |  | 15 |  | 10 |  | 10 |  | 10 |  | 10 |  | 25 |  | 10 |  | 50 |  | 10 |  | 10
|  |  | Protection of PV system interconnection at GLVB |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
| Electrical boards | DC Solar Board | SB-DC |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | AC partial solar board | PSB-AC |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | AC General Solar Board | GSB-AC |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | Lightning protection (AC and DC) | AC Surge arrestors (class 2 1PH + N) |  | Ea
|  |  | AC Surge arrestors (class 1&2 1PH + N) |  | Ea
|  |  | AC Surge arrestors (class 2 3PH + N) |  | Ea
|  |  | AC Surge arrestors (class 1&2 3PH + N) |  | Ea
| Monitoring | Data logger and HMI | System and display |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | Transducers |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | Cabling and conduit |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | Communications module |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | Remote montoriing software incl license |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
FORM 4.1 Solar PV System BoQ | Luminaires | Interior LED lights | LED strip to replace 2 * 18W FL (bidder to specify) |  | Ea | 0 |  | 0 |  | 12 |  | 0 |  | 12 |  | 0 |  | 4 |  | 6 |  | 14 |  | 26 |  | 8 |  | 8 |  | 0 |  | 0 |  | 0 |  | 12 |  | 0 |  | 8 |  | 60 |  | 16 |  | 16 |  | 16 |  | 0 |  | 0 |  | 4 |  | 9 |  | 6 |  | 0 |  | 2 |  | 0 |  | 0 |  | 5
|  |  | LED strip to replace 4 * 18W FL (bidder to specify) |  | Ea | 28 |  | 84 |  | 0 |  | 124 |  | 24 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 102 |  | 0 |  | 0 |  | 0 |  | 125 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 102 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | LED strip to replace 1 * 36W FL (bidder to specify) |  | Ea | 0 |  | 0 |  | 35 |  | 0 |  | 4 |  | 0 |  | 8 |  | 15 |  | 5 |  | 38 |  | 25 |  | 15 |  | 0 |  | 0 |  | 16 |  | 15 |  | 0 |  | 0 |  | 8 |  | 0 |  | 53 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | LED strip to replace 2 * 36W FL (bidder to specify) |  | Ea | 63 |  | 21 |  | 18 |  | 21 |  | 10 |  | 0 |  | 32 |  | 63 |  | 73 |  | 45 |  | 47 |  | 47 |  | 18 |  | 0 |  | 45 |  | 75 |  | 0 |  | 22 |  | 9 |  | 34 |  |  |  | 9 |  | 53 |  | 40 |  | 16 |  | 14 |  | 15 |  | 36 |  | 19 |  | 24 |  | 0 |  | 42
|  |  | LED strip to replace 2 * 58W FL (bidder to specify) |  | Ea | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 26 |  | 0 |  | 8 |  | 16 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | Installing new luminaires in the porches |  | Ea | 0 |  | 0 |  | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Air conditioners | Inverter AC type 1 | replace 9,000 BTU/hr |  | Ea | 15 |  | 20 |  | 15 |  | 28 |  | 12 |  | 0 |  | 12 |  | 15 |  | 11 |  | 25 |  | 11 |  | 16 |  | 1 |  | 0 |  | 18 |  | 18 |  | 0 |  | 4 |  | 16 |  | 5 |  | 20 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 6 |  | 0 |  | 5 |  | 0 |  | 6
|  | Inverter AC type 2 | replace 12,000 BTU/hr |  | Ea | 5 |  | 2 |  | 0 |  | 6 |  | 5 |  | 0 |  | 3 |  | 6 |  | 4 |  | 8 |  | 4 |  | 5 |  | 2 |  | 0 |  | 4 |  | 3 |  | 0 |  | 1 |  | 4 |  | 3 |  | 6 |  | 1 |  | 3 |  | 2 |  | 1 |  | 1 |  | 1 |  | 38 |  | 1 |  | 0 |  | 0 |  | 11
|  | Inverter AC type 3 | replace 18,000 BTU/hr |  | Ea | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Inverter AC type 4 | replace 24,000 BTU/hr |  | Ea | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0
| Exhaust fans | Exhaust fan type 1 | WC exhaust fan |  | Ea | 10 |  | 10 |  | 4 |  | 10 |  | 2 |  | 0 |  | 8 |  | 6 |  | 6 |  | 8 |  | 6 |  | 6 |  | 2 |  | 0 |  | 8 |  | 6 |  | 8 |  | 4 |  | 8 |  | 6 |  | 8 |  | 6 |  | 6 |  | 6 |  | 4 |  | 4 |  | 4 |  | 10 |  | 4 |  | 2 |  | 0 |  | 6
|  | Exhaust fan type 2 | Corridor/waiting room |  | Ea | 2 |  | 6 |  | 0 |  | 3 |  | 6 |  | 0 |  | 2 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 0 |  | 0 |  | 3 |  | 3 |  | 3 |  | 2 |  | 3 |  | 2 |  | 4 |  | 4 |  | 4 |  | 2 |  | 2 |  | 2 |  | 2 |  | 0 |  | 2 |  | 2 |  | 0 |  | 2
|  | Exhaust fan type 3 | Kitchen |  | Ea | 1 |  | 1 |  | 0 |  | 1 |  | 0 |  | 0 |  | 1 |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Exhaust fan type 4 | Cafeteria |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  |  |  | 0 |  | 1
|  | Ceiling Eolic Fan |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 6 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 6 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 6 |  | 0 |  | 1 |  | 0 |  | 0
|  | Ceiling Electric Fan |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0
|  | AC cable |  |  | Ea | 130 |  | 100 |  | 100 |  | 100 |  | 100 |  | 120 |  | 120 |  | 110 |  | 120 |  | 150 |  | 110 |  | 110 |  | 30 |  | 0 |  | 120 |  | 120 |  | 120 |  | 40 |  | 120 |  | 60 |  | 120 |  | 130 |  | 130 |  | 110 |  | 40 |  | 40 |  | 40 |  | 80 |  | 40 |  | 40 |  | 0 |  | 60
|  | General survey and revision of the electrical installation, namely: | • Protective earth measurement and improvement; • Circuit load distribution and phase balance • Outlet repair/replacement |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  |  | Supply, erect, commissioning and connect a new main AC Switchboard |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Other | Installation of a protective film over the acrylic ceiling in order to prevent radiation to enter the hospital |  | m2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 240 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 200 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | To construct a separation inside the main warehouse between the fridge zone and the remaining. Installing two protected louvers of 1m2 each and two exhaust fans |  | Ea | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | Install louvers in the walls 0,5m2 |  | m2 | 0 | [57 empty] | 0.5 |  | 0 |  | 0
|  |  | bidder to specify |  |  | 0
|  | Warning signs | as per specification |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | User manual |  |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
|  | O&M manual | for customers and technicians |  | Ea | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Sub-total Equipment
Sub-total Transport and clearances, insurance
Sub-total Equipment (to Price Schedules: Goods, Items 2 - 9)
Sub-total Installation, Inspection. MIS data capture, commissioning etc (to Price Schedules: Related Services, Items 5-12)
Total unit costs for Supply and Installation of System
Delivery and activity Schedules | Goods delivery | Supply of all PV goods | earliest delivery date |  |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90
|  |  | latest devliery date |  |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120
|  | Supply of minor goods (lights, fans, etc) | earliest delivery date |  |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90 |  | 90
|  |  | latest devliery date |  |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 150 |  | 150 |  | 150 |  | 150 |  | 150 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120
| Related Services | Instalation and related services | Masonry works |  |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 120 |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 120 days |  | 120 days |  | 120 days |  | 120 days |  | 120 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days |  | 105 days
|  |  | PV instalation |  |  | 211 |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day
|  |  | Electrical and appliances |  |  | 211 |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days |  | 150 days
|  |  | Electrical installattion checks |  |  | 214 |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 180 |  | 180 |  | 180 |  | 180 |  | 180 |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day |  | 150 day
|  |  | Commissioning |  |  | 220 |  | 210 |  | 200 |  | 200 |  | 200 |  | 200 |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 200 |  | 200 |  | 200 |  | 200 |  | 200 |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days |  | 165 days

## Spares
1
System Number
| Use Separate Bill of Quantities for each site |  | Unit cost (USD) |  | SHS-S |  | Mandatory Spares |  |  |  | Recommended Spares (Additional)
| Site name: __________ |  |  |  |  | USD | Qty | USD | Minumum required% | Minimum Qty | Qty | USD
| Item | Description |  | Units
| Module earthing clamps | per 1 kWp |  | Set |  |  |  |  | NA | 2
| Array interconnects | Quick connectors |  | Ea | 0 |  |  |  | NA | 2
Distrubtion enclosures | Main AC DB | Type: 3 x3 Ph outgoers |  | Ea |  |  |  |  | NA | 2
|  | Type: 5 x3 Ph outgoers |  | Ea | 0 |  |  |  | NA | 2
|  | Type: 10 x3 Ph outgoers |  | Ea |  |  |  |  | NA | 2
|  | Type: 12 x3 Ph outgoers |  | Ea |  |  |  |  | NA | 2
Lunimiare | Luminaires | Internal |  | Ea |  |  |  |  | NA | 4
|  | Bulkhead |  | Ea |  |  |  |  | NA | 5
| LED bulbs | Internal |  | Ea |  |  |  |  | NA | 5
|  | Bulkhead |  | Ea |  |  |  |  | NA | 5
Sundry
Grand Total

## Maintenance kit
1
Use Separate Bill of Quantities for each site |  | Unit cost (USD) |  | Maintenance kit on each site (32)
Site name: __________ |  |  |  | Qty | USD
Item | Description |  | Units
Digital clamp . Multi-meter | (minimum range 0-600V DC, 0-300 V AC, accuracy min 1%, 0.01V resolution) |  | Ea | 1
Current clamp meter | (range 0-40A, accuracy 1%, resolution 0.1A for AC and DC 40 A, including thermocouple and leads. Recommended model: TCM 02 DC/AC clamp meter – 600 VDC |  | Ea | 1
Basic tool kit | Including set of insulated screwdrivers to fit all terminals on DIN rail/inverter/power conditioner; small/narrow pliers, wire cutters/strippers, crimp tool with set of lugs, insulating tape, etc. |  | Set | 1
Torque wrench |  |  | Ea | 1
Spanner | insulated, to fit battery terminal nuts |  | Ea | 1
Earth fault tester |  |  | Ea | 1
Step ladder | to reach solar array |  | Ea | 1
Water bucket |  |  | Ea | 1
Squeegee | to clean solar array |  | Ea | 2
| disposable cloths |  | Set | 1
Stationary | stick on labels and marker pens |  | Set | 1
Fire extinguisher | Electrical - CO2 |  | Ea | 1
GRANT TOTAL
GRANT TOTAL